## Slide 1: Updates on EDC co-simulation
Yashen Lin, Research Engineer, NREL
Annabelle Pratt, Principal Engineer, NREL
Dustin McLarty, Assistant Professor, WSU
Update for DOE
March 30, 2018

## Slide 2: EDC co-simulation with Energy+
System Model
MPC
EDC
Weather
+
Market
Set points for thermostat, fuel cell, etc.
Measurements of temperature, equipment states, etc.
Forecasting
Module
Uncontrollable load and internal heat gain
Measurements of building electrical loads, heating and cooling loads, HVAC consumption, etc.
24hr
24hr
1hr
1hr
1hr
MLE+
Energy+
Schedules

## Slide 3: Co-simulation timeline
Start E+ Simulation
Warm up
Measurement
Set-points
Read measurement from E+
Update forecast
Run optimization for 24-hour
Send set-points to E+
Implement
1-hour
Measurement
Set-points
Read measurement from E+
Update forecast
Run optimization for 24-hour
Send set-points to E+
Repeat

## Slide 4: Current implementation and assumptions
MLE+
Energy+
Schedules
Single zone version of the reference office building
Fuel cell simulated in Matlab
Simplified HVAC control logic
Perfect knowledge
2nd order single zone model
Perfect knowledge
ROM
MPC
EDC
Weather
+
Market
Set points for thermostat, FC, etc.
Measurements of temperature, equipment states, etc.
Forecasting
Module
Forecast of uncontrollable load and internal heat gain
24hr
24hr
24hr
1hr
1hr
1hr

## Slide 5: Improvements since last update
In EDC:
  Added fuel cell on/off decision; requires mixed integer programming
  2nd order ROM for building
  ROM running at faster time step to make full use of 2nd order model
Improved fuel cell model; now injecting heat to hot water loop
Running closed-loop simulation with temperature feedback

## Slide 6: Parameters used for co-simulation
Prices:
  Electricity: normal rate $0.1/kWh, peak hour rate $0.2/kWh.
  Natural gas: low case, $0.03/kWh, high case, $0.08/kWh.
  Ancillary service: 0.03/kW
FC capacity: 25kW electricity, 17.5kW heat
Building load: peak approx. 50kW electricity, 30kW heat
EDC temperature range: 21 - 23 degC

## Slide 7: Co-simulation results: Case 1, low natural gas price
 | Total cost | Electricity cost | Natural gas cost | Ancillary services payment
EDC | 398 | 81 | 321 | 5
EDC, no FC | 733 | 611 | 127 | 5
No EDC, no FC, 1 set-point | 747 | 594 | 153 | 
No EDC, no FC, 2 set-points | 691 | 572 | 119 | 
Cost saving of EDC vs. EDC no FC is 45.7%
Cost saving of EDC vs. No EDC no FC 1 set-point is 46.7%
Cost saving of EDC vs. No EDC no FC 2 set-point is 42.4%

## Slide 8: Co-simulation results: Case 1, low natural gas price

## Slide 9: Co-simulation results: Case 1, low natural gas price

## Slide 10: Co-simulation results: Case 1, low natural gas price

## Slide 11: Co-simulation results: Case 1, low natural gas price

## Slide 12: Co-simulation results: Case 1, low natural gas price

## Slide 13: Co-simulation results: Case 2, high natural gas price
 | Total cost | Electricity cost | Natural gas cost | Ancillary services payment
EDC | 914 | 182 | 736 | 5
EDC, no FC | 946 | 612 | 338 | 5
No EDC, no FC, 1 set-point | 1003 | 594 | 409 | 
No EDC, no FC, 2 set-points | 890 | 572 | 318 | 
Cost saving of EDC vs. EDC no FC is 3.4%
Cost saving of EDC vs. No EDC no FC 1 set-point is 8.9%
Cost saving of EDC vs. No EDC no FC 2 set-point is -2.7%

## Slide 14: Co-simulation results: Case 2, high natural gas price

## Slide 15: Co-simulation results: Case 2, high natural gas price

## Slide 16: Co-simulation results: Case 2, high natural gas price

## Slide 17: Co-simulation results: Case 2, high natural gas price

## Slide 18: Co-sim with EnergyPlus, with high natural gas price

## Slide 19: Impact of ROM mismatch, Day 11

## Slide 20: Impact of ROM mismatch, Day 11

## Slide 21: Impact of ROM mismatch, Day 11

## Slide 22: Conclusions
ROM is overestimating the heating load
  This could result in higher cooling power use
    by setting lower temperature set point because EDC does not estimate that any cooling power would be required
  This could result in dumping of heat from fuel cell and/or unnecessarily turning on the FC

## Slide 23: Conclusions from co-simulation
Have achieved working co-simulation with EnergyPlus and EDC using ROM based on E+ model
In the lower natural gas price case, FC is economical even if it’s only used for electricity, so FC will operate at full capacity almost all the time, achieving cost savings from lower fuel cost
In the higher natural gas price case, FC is economical when both electricity and heat are used by the building, so the FC operates according to the load of the building
Due to the ROM mismatch, the cost saving from scheduling the temperature is insignificant

## Slide 24: Next steps
Include forecast module from WSU in co-simulation
  Expected to improve performance of ROM by using on-line learning
Continue effort to improve ROM
  PNNL resources also deployed for this
  Will direct to use different approach from WSU
Switch to using EnergyPlus fuel cell model when available
Run co-simulation with full EnergyPlus model of commercial building
Prepare and submit final paper for High Performance Building conference

## Slide 25: Backup slides

## Slide 26
Can evaluate impact of imperfect model on results by using Matlab model for building in co-simulation
  Allows us to introduce errors in model and evaluate impact
  Next few slides shows use of Matlab model

## Slide 27: Co-sim with perfect model and forecast in Matlab
 | Total cost | Electricity cost | Natural gas cost | Ancillary services payment
EDC | 493 | 145 | 351 | 5
EDC, no FC | 834 | 657 | 181 | 5
No EDC, no FC, 1 set-point | 895 | 683 | 212 | 
No EDC, no FC, 2 set-points |  |  |  | 
Cost saving of EDC vs. EDC no FC is 40.9%
Cost saving of EDC vs. No EDC no FC 1 set-point is 44.9%

## Slide 28: Co-sim with perfect MATLAB model

## Slide 29: Co-sim with perfect MATLAB model

## Slide 30: Co-sim with perfect MATLAB model

## Slide 31: Co-sim with perfect MATLAB model

## Slide 32: Co-sim with perfect MATLAB model

## Slide 33: EDC co-simulation with Energy+
System Model
MPC
Weather
Set points for thermostat.
Measurements of temperature, equipment states, etc.
Uncontrollable load and internal heat gain
MLE+
Virtual Building
Model
Market
Building Controller

## Slide 34: EDC co-simulation with Energy+
System Model
MPC
Weather
Set points for thermostat.
Measurements of temperature, equipment states, etc.
Uncontrollable load and internal heat gain
Virtual Building
Model
Market
Building Controller